## Salem 01
Owner Name | PSEG Power LLC
Station Name | Salem Nuclear Power Station
Unit Name | Salem 01
NERC Region | MAAC
State | NJ
Fuel Type | Nuclear
Capacity | 1,170 MW
Start Date | 9/24/01 pm
End Date | 2001-09-26
Comments | Reactor tripped due to a loss of water pumps, plan to be back on line tomorrow,full power by Thursday. Unit 02 (72%) hoping to reach full power @ the same time as Unit 01.
SIC | 4911
Plant ID | 1018459
Unit ID | 1004455
Outage ID | 18526

## Vogtle 02
Owner Name | Georgia Power Company
Station Name | Vogtle Nuclear Power Station
Unit Name | Vogtle 02
NERC Region | SERC
State | GA
Fuel Type | Nuclear
Capacity | 1,160 MW
Start Date | 2001-09-25
End Date | 2001-09-27
Comments | Reduced power to 92%. Planning to repair problem without going into maintenance outage.
SIC | 4911
Plant ID | 1016385
Unit ID | 1007770
Outage ID | N/A

## San Juan 02
Owner Name | Public Service Company of New Mexico
Station Name | San Juan Generating Station
Unit Name | San Juan 02
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 350 MW
Start Date | 2001-09-24
End Date | 2001-09-27
Comments | Tube Leak
SIC | 4911
Plant ID | 1016385
Unit ID | 1007770
Outage ID | 18527