## Ordered Out Hours
Enron Wind Maintenance Corp.
Site: Sommerset
DATE: 5/01/02
ORDERED OUT HOURS LOG APRIL 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Reason/Activity | Off | On | Off | On | Hours
| NONE |  |  |  |  | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - Log downtime due to WTGs ordered out of service by owner, EWC etc - not covered by other downtime logs.

## Curtailment Log
GE Wind Maintenance Corp.
Site: Sommerset
DATE: 6/01/02
CURTAILMENT LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed | Wind | Wind
Location | Description - Reason/Activity | Begin | End | Begin | End | Hours | Begin | End
| NONE |  |  |  |  | 0 |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - When recording windspeed, indicate whether it is in m/s or mph, and where the data is from, ie wtg #, met tower, etc.

## ETS - Grid Downtime
GE Wind Maintenance Corp.
Site: Sommerset
DATE: 6/01/02
ETS - GRID DOWNTIME LOG MAY 2002
Pad | Feeder |  | Date | Date | Time | Time | Elapsed
Location | Location | Description - Fault Indication/Activity | Off | On | Off | On | Hours
1 thru 6 |  | Grid Failure | 2002-05-02 | 2002-05-02 | 14:10 | 15:15 | 1.0833 | 0.045139
1 thru 6 |  | Grid Failure | 2002-05-14 | 2002-05-14 | 18:27 | 20:16 |  | 0.075694
1 thru 6 |  | Grid Failure | 2002-05-29 | 2002-05-29 | 14:49 | 17:06 |  | 0.045833
1 thru 6 |  | Grid Failure | 2002-05-31 | 2002-05-31 | 20:05 | 22:40 |  | 0.10764
0
0
0
0
0
0
0
0
0
0
0
Note - some facilities do not have feeders, in those cases identify the turbines effected.

## SCADA
GE Wind Maintenance Corp.
Site: Sommerset
DATE: 6/01/02
SCADA MALFUNCTION LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Fault Indication/Activity | Begin | End | Begin | End | Hours
| NONE |  |  |  |  | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Scada problems that result in the loss of data which could effect availability.

## WTG Downtime
GE Wind Maintenance Corp.
Site: Sommerset
DATE: 6/01/02
WTG DOWNTIME LOG MAY 2002
Pad |  | Date | Date | Time | Time | Elapsed
Location | Description - Fault Indication/Activity | Off | On | Off | On | Hours
| NONE |  |  |  |  | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note - if the event is considered a force majeure event, include the wording force majeure in the description.